## Calibration History
CALIBRATION DATE | TEMPERATURE TYPE | CALIBRATION BY | SERIAL | COLD BATH TEMP | HOT UNCALIB SENSOR TEMP | HOT BATH TEMP | CALCULATE FACTOR | TEST COLD BATH TEMP | TEST COLD SENSOR TEMP | RESULT
2016-11-22 | CELSIUS | SDF | 213123 | 12.1 | 50.1 | 70 | 76.33658 | 15.1 | 15.3 | PROCESS PASSED